SITE-FABRICATED STRETCHED FABRIC WALL AND CEILING SYSTEMS

SYSTEM DESCRIPTION

- Site-fabricated stretched fabric panel system with continuous perimeter track profile mounted directly to sheetrock substrate. System shall provide for face fabric to be perfectly tensioned over core materials, leaving fabric floating over core surface.

- System will allow for the removal and replacement of fabric facing from individual panels. Removal of fabric shall allow access to surface behind fabric without dismantling, removal or replacement of track members or core.

- Prefabricated panels or wood ground systems do not satisfy the intent of this specification.

ACCEPTABLE MANUFACTURER/AUTHORIZED DISTRIBUTOR/CERTIFIED INSTALLER

- NOVAWALL( as manufactured by

Novawall Systems, Inc.,

885-B South Picket Street

Alexandria, Virginia 22304

(800) 695-6682

(703) 461-0113

(703) 461-0436 fax

Website: www.novawall.com

Email: sales@novawall.com

- Authorized Distributor or Certified Installer

(Territory map at  www.novawall.com  or consult with a Novawall® representative)

SYSTEM COMPONENTS

- Novawall® Perimeter Edge Track - extruded polymer edge track profiles required to conform to panel edge detail desired – select one or two types and thickness:

(½” Square-Weltless Edge) (½” Square-Concealed Edge) (½” Square-Universal Edge)   (1” Square-Weltless Edge) (1” Square-Concealed Edge) (1” Square-Classic)

(1” Square-¼” Reveal Edge)(1” Square-½” Reveal Edge)

(1” Bevel) (1” Radius)

Note: Use Bevel and Radius Edge Profiles with respective Bevel and Radius Midwall components.

- Novawall® Midwall Track - select corresponding Novawall® midseam panel joint:

(½” Square-Butt Joint) (1” Square-Butt Joint) (1” Square-⅛” Reveal Insert) (1” Square-¼” Reveal) (1” Square-½” Reveal) (1” Bevel Midwall) (1” Radius Midwall)

- Core materials:

Acoustical: Fiberglass Rigid (½” fiberglass; 6 PCF density) (1” fiberglass; 6 PCF density)

Tackable/High Impact: (½” Micore by USG) (¾” Micore by USG)

(½” Multi-density fiberglass; 10-20 PCF) (1” Multi-density fiberglass; 6 PCF density with ¼” 10-20 PCF face)

- Fabric Selection:

Fabrics selected by Architect/Designer and approved for intended end-use panel application by fabric manufacturer.

FP-1[Manufacturer][Product Name][Style Number][Color][Fabric Width]

FP-2[Manufacturer][Product Name][Style Number][Color][Fabric Width]

- Mounting Hardware:

Manufacturer’s standard fasteners for securing framing track directly to gypsum board, wood or plywood substrates. No nailing through fabric accepted.

INSTALLATION

- Fabricate panel system on jobsite to conform precisely to existing conditions in areas indicated for their application. Space shall be enclosed and weather-tight.

- Apply framing materials to sheetrock surfaces scheduled to receive system.   Framing shall be plumb and straight, flush, and in proper alignment.  Mounting channel details and core coloration shall not be visible through facing fabric.

- Core materials shall be installed in a continuous manner, flush and level with framing materials. Core materials shall not “telegraph” through the face fabric.

- Cut fabric from each roll maintaining a regular sequence of drops and matching direction of weave for sequential and uniform installation.

- Fabric shall be tensioned securely to track system using appropriate tools.  Spray adhesives or stapling of fabric to core or frame members shall not be permitted.

- Clean exposed surfaces of wall fabric.  Trim and remove loose threads.  Remove surplus materials, rubbish, and debris, leaving area neat and in a clean condition.

## MANDATORY FIRE CODE COMPLIANCE/ACOUSTICAL TESTS

- This fire code section is considered mandatory. Stretched fabric panel systems or fabrics not in compliance should be rejected.

- Submit complete, unedited test reports for stretched fabric panel system prepared by an independent testing laboratory that is IAS Certified indicating full compliance with fire resistance performance requirements under ASTM E84, and specifically;

- Fire ratings shall be for a complete assembly, including perimeter and longitudinal butt joint framing extrusions, core material, and fabric covering as required by ASTM E2573-07 Specimen Preparation and Mounting of Site Fabricated Stretch Systems to Assess Surface Burning Characteristics.

- Systems must be certified under ASTM E84 and Class must be compliant with placement in the building:

Class A with a Flame Spread Index (0-25) Smoke Developed Index (0-450)

Class B with a Flame Spread Index (26 - 75) Smoke Developed Index (0-450)

Class C with a Flame Spread Index (76 – 200) Smoke Developed Index (0-450)

- Submit complete test reports for each fabric prepared by an independent testing laboratory that is IAS Certified indicating compliance with specified fire resistance performance requirements under ASTM E84 Unadhered Method.

- ASTM C423 Test Method for Sound Absorption and Sound Absorption Coefficients by Reverberation Room Method

(NRC for 1” system   0.80)(NRC for 2” system:  0.95)(NRC for 4” system:  1.05)

## LIMITED LIFETIME WARRANTY*

A.	Stretched fabric panel system installation shall be warranted by the Authorized Distributor or Certified Installer for the period defined in contract documents.

B.	Novawall® provides a Limited Lifetime Warranty* to the Authorized Distributor or Certified Installer for the “Life” of the installation.

*Novawall® will provide replacement Novawall® extrusions that are deemed defective at no charge to the Authorized Distributor or Certified Installer during the “useable life” of an installation. Novawall® does not warranty against damage by others, normal wear and tear, the project installation, the fabric or core materials which may have other certain manufacturer warranties available.